| Page 1 of 1 |  |  |  |  | Kingspan Design Toolkit v8.0.4837.35654 [30/03/2013 19:48] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 02 April 2013 23:34:52 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Kingspan Structural Products |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Sherburn, Malton |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | North Yorkshire, YO17 8PQ |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | England |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Tel: (01944) 712000 |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Fax: (01944) 710555 |  |  |  |  |  |  |  |  |  |  |  |
| Site Snow Load Report |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Job ref.: New |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Project modified: 02/04/13 23:18 |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Project created: 25/11/12 20:19 |  |  |  |  |  |
| Design code: |  | Eurocode |  |  |  |  |  |  | Eurocode NAD: United Kingdom |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Zone number: | 1 |  |  | Site altitude (A): |  |  | 67.00 m |  |  |  | Site snow load (Sk): |  |  |  | 0.237 kN/m² |  |  |  | Exposure coefficient (Ce): |  |  | 1.000 |  |  |  | Thermal coefficient (Ct): |  | 1.000 |